Accessibility Plan for

Mansfield Primary Academy

Sophia Hands

09.02.2017

# Introduction

Improving the physical environment of academies to enable those with disabilities to take better advantage of education, benefits, facilities and services provided

- This Accessibility Plan has been drawn up in consultation with the Greenwood Academies Trust Board, pupils, parents, staff and Advisory Councillors of the Academy and covers the period from February 2017 – February 2020.

- We are committed to providing a fully accessible environment which values and includes all pupils, staff, parents and visitors regardless of their education, physical, sensory, social, spiritual, emotional and cultural needs. We are committed to challenging negative attitudes about disability and accessibility and to developing a culture of awareness, tolerance and inclusion.

- The Greenwood Academies Trust (GAT) plans, over time, to increase the accessibility of provision for all pupils, staff and visitors to all of our sites.  Individual Accessibility Plans are produced for each Academy and contain relevant actions to:

  - Improve access to the physical environment of the Academy, adding specialist facilities as necessary.  This covers improvements to the physical environment and physical aids to access education.

  - Increase access to the curriculum for pupils with a disability, expanding the curriculum as necessary to ensure that pupils with a disability are as equally prepared for life as are the able-bodied pupils.  This covers teaching and learning and the wider curriculum of the Academy such as participation in after school clubs, leisure and cultural activities, off site visits etc.  It also includes the provision of specialist aids and equipment, which may assist disabled pupils in accessing the curriculum.

  - Improve the delivery of written information to pupils, staff, parents and visitors with disabilities. This will include handouts, timetables, textbooks and information about the Academy and its events. The information will be made available in various preferred formats within a reasonable time frame.

- Attached are Action Plans, relating to these key aspects of accessibility. The plans will be reviewed and adjusted on an annual basis. New Action Plans will be produced every three (3) years.

- We acknowledge that there is a need for ongoing awareness raising and training for staff, Trustees and Advisory Councillors in the matter of disability discrimination and the need to inform attitudes on this matter.

- The  Accessibility Plan should be read in conjunction with the relevant sections of following documents:

- SEN and Disability Policy

- Admissions Policy

- Pupil Behaviour and Exclusions Policy

- Every Child Matters

- Organisation of Pupil Learning

- Education Brief

- Academy Improvement Plans

- Academy Brochures

- Asset Management Plan

- The Action Plan for physical accessibility relates to the Access Audit of the Academy, which is undertaken regularly by the Health and Safety Team. It may not be feasible to undertake some of the works during the life of this first Accessibility Plan and therefore some items will roll forward into subsequent plans. The audit will be reviewed prior to the end of each three year plan period in order to inform the development of the new Plan for the following period.

- As curriculum policies are reviewed, a section relating to access will be added to that on Equality and Diversity.  The terms of reference for the GAT Finance and General Purposes (F&GP) and Advisory Council committees will contain an item on ‘having regard to matters relating to Access’.

- The Academy Brochure will make reference to this Accessibility Plan.

- The Academy’s Complaints Procedure covers the Accessibility Plan.

- Information about our Accessibility Plan will be published in each Academy’s Annual Report to Parents (statutory).

- The Plan will be monitored through the Academy Advisory Council. Each Council will produce a termly report on progress against the plan for the GAT F&GP.

- The Academy will work in partnership with all stakeholders in developing and implementing this plan.

- The Plan will be monitored by Ofsted as part of their inspection cycle

Resources

Building Bulletin 102: Designing for disabled children and children with special educational needs.

Building Bulletin 103: Area guidelines for Mainstream Schools

Approved Document M   https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/540330/BR_PDF_AD_M1_2015_with_2016_amendments_V3.pdf

Gov.Uk Fire Safety Risk Assessment- Escape for Disabled People https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/422202/9446_Means_of_Escape_v2_.pdf

LABC Building Regulations in Practice - Accessible Toilets by David Spooner http://www.gedling.gov.uk/media/documents/planningbuildingcontrol/LABCAccessible%20Toilet%20Diagram%20and%20Advice.pdf

# Action summary

| No | Issue | Action | Responsible Person | Completion date |
| --- | --- | --- | --- | --- |
|  | Communication box at entry to the school grounds but currently stands at 1500mm from ground level | To ensure this can be reached even if seated in a wheelchair the communication box should be relocated to no more than 400mm from ground level | The Principal | 09.05.2017 |
|  | Designated accessible parking spaces are not available | To comply with the Equalities Act, designated space for accessible parking should be marked within the car park with level access onto the footpath. Requirements are: Accessible parking spaces should be on the level and 3.6 metres wide to allow transfer from a wheelchair into a car. Alternatively shared ‘transfer’ space 1.2 metres wide can be provided between two standard bays of 2.4 metres wide. Each space should be 4.8 metres long and wherever possible a 1.2 metre wide safety zone should be provided for boot access or to facilitate cars with rear hoists. Bays in line should be 6.6 metres long to allow access to the car boot where a wheelchair may be stowed. | The Principal | 09.05.2017 |
|  | There is no hearing loop (induction loop) available to aid staff or visitors wearing a hearing aid | Install hearing loop and sign at reception. A portable loop e.g. http://www.sarabec.com/la90-portable-loop-system/p778 would be satisfactory and would provide flexibility if other parts of the site is being used. | The Principal | 09.05.2017 |
|  | It would be difficult for a visually impaired person to identify sockets and switches as they are the same colour as the wall surrounding them. | It is recommended that these are edged in a contrasting colour, such as the colour used for the door frames, to highlight their location. | The Principal | As and when required |
|  | Adjustable height desks and workbenches are not available for use by those with limited mobility, | Recommend purchasing height adjustable furniture as and when required | The Principal | As and when required |
|  | Accessible toilet in KS2 currently designed for an adult has no support on wall side , flush level is on wrong side and the sink too far from toilet | Install a grab rail to both sides at height 200mm above the seat height. Move the paddle level to the open side so it can be easily reached by a wheelchair user. Move wash basins, paper towel and hand soap dispensers so they can be used by anyone sitting on the WC. This allows the user to wash their hands and prevents soiling the wheelchair | The Principal | As and when required |
|  | Accessible toilet in KS2 is not suitable for 7-11yrs. | The measurements should be: WC with seat height between 420-430mm. Grab rail height to 100-150mm above the seat height and 350-400mm from the centre of the seat Basin fixed at 700mm above floor level. All vertical grab rails at 800mm centres above floor (assuming 600mm grab rail) and at 450-500 centres from the basin | The Principal | As and when required |
|  | Accessible toilet in Early Years hygiene room is not suitable for KS1 (early years 7). | The measurements should be: WC with seat height between 300-350mm. Grab rail height to 100-150mm above the seat height and 300-350mm from the centre of the seat, Basin fixed at 500mm above floor level. All vertical grab rails at 800mm centres above floor (assuming 600mm grab rail) and at 400-450 centres from the basin | The Principal | As and when required |
|  | Currently there is accessible WCs available for staff use however if these are converted for pupil use, there will be no accessible facilities for an adult. | If and when the accessible toilets are converted, the staff toilet will also need to be altered to become suitable. It should have: Sufficient manoeuvring space outside the door to the WC –1.5m x 1.5m should be regarded as the minimum and within the WC for wheelchair to turn around. Height of toilet should be 480mm and projection of 750mm Flush lever is on the open side. A user should be able to flush using a hand, an elbow, or any other part of the body. Some people do it with their chin. If it is not on the open side, it will be impossible to reach from a wheelchair. Washbasin, hand soap and hand towels within reach of the toilet so that a person may wash their hands before returning to their chair this prevent soiling of the equipment. Tap is located on the corner of the washbasin nearest to the toilet. A ceiling pull switch located so that it can be operated from the toilet and from an adjacent floor area, the switch should have two G pulls, one set at a height between 800 - 1000mm and the other set 100mm above floor level. | The Principal | As and when required |
|  | There are two specialist hygiene rooms available with a shower, changing bed and space for assistants to change a pupil. However the accessible WC in both are not suitable for the ages (see actions 7 and 8) In addition there is no shower seat or hoist available. | A shower seat and fixed or mobile hoist should be purchased as and when required. The shower seat can be fixed to the wall or a chair designed for shower use | The Principal | As and when required |

# Physical accessibility

# Mobility Impairment

Circulation routes

Someone who does not use a walking aid can manage to walk along a passage way less than 700mm wide, but just using a walking stick requires greater width than this; a minimum of 750mm. A person who uses two sticks or crutches, or a walking frame needs a minimum of 900mm, a wheelchair user and an ambulant person side-by-side need 1500mm width.

There is level access into the academy from the front and rear of the building.

Pedestrian gates or entrances onto the grounds have a min clear opening width of 850mm

COMMUNAL ENTRANCE AND RECEPTION AREAS

Door has a minimum width of 775mm

Threshold is accessible (does not impede wheelchair access)

Means to open the doors or doors are automatic

Emergency exit (green button) fitted to the inside

Reception lobby is wide enough to accommodate a wheelchair and companion.

Counter: appropriate width & height, with adequate knee recess

DINING AREAS

Access to and from the dining area is suitable width for those with mobility impairment to move around.

Furniture is suitable for use for those in a wheelchair and allows interaction between all pupils and staff whilst dining.

Classrooms

Classrooms with a final exit have a wide door with a ramp for ease of exit in an emergency.

Access routes around the classroom are wide enough to accommodate a wheelchair user.

# Visual Impairment

LIGHTING AND CONTRAST

Lighting is suitable and sufficient

Light sources do not create unnecessary shadows (shadows can create optical illusions)

Glare is avoided from shiny or glossy surfaces

Light levels through different rooms and levels are equal

Walls, floors and doorways are of contrasting colours.

Colour scheme is simple and number of colours used is limited

Wooden door and frame and dark carpeted floor tiles contrast against white walls

CIRCULATION ROUTES

A blind person using a long cane or with an assistance dog needs a walkway measuring at least 1100mm. A visually impaired person who is being guided needs a width of at least1200mm.

Highlighted nosings are provided each step's tread and riser, to help visually impaired people identify the location of the steps, these should be 55mm wide on both the  tread and riser

Handrails are easily distinguishable from the background through the use of good visual contrast and have features to prevent guide dogs from walking under the rails, but with sufficient openings between vertical members to ensure that children and wheelchair users can see, and be seen, through the railings.

Unobstructed height above a pedestrian way is also important, especially for visually impaired people. This should be a minimum of 2300mm. Where a sign is suspended over a walkway a minimum clearance of 2100mm is acceptable. Where trees overhang a walkway it is advisable to cut them back to at least 3000mm clear height to allow room for regrowth

# Hearing Impairment

Visual alarms such as beacons are mounted at a minimum height of 2.1m from floor level, in a position that is likely to attract attention

Visual alarms (beacons) are in use in where those with hearing impairment might be alone, such as accessible toilets

Curriculum accessibility

Insert here